## Fire Extinguisher
Company | Asset Tag | Serial Number | Status | Item Name | MFG MONTH | EXPIRY MONTH | HPT DATE | HPT DUE DATE | Refilling Date | Refilling due date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | TYPE AND CAPACITY OF FIRE EXTINGUISHER | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FE-0001 | 1 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Plant Entry Passage | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0002 | 2 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Plant Entry Passage | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0003 | 3 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Security | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0004 | 4 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Security | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0005 | 5 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Packing material receiving & FG Area | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0006 | 6 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Reception | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0007 | 7 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2027-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | Receiving & Packing material | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0008 | 8 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2027-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | Packing material receiving & FG Area | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0009 | 9 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Packing material receiving & FG Area | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0010 | 10 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | FG Entry | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0011 | 11 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Canteen Passage | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0012 | 12 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Production Corridor | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0013 | 13 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Mathis machine area entry | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0014 | 14 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Mathis machine area entry | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0015 | 15 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Mathis technical | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0016 | 16 |  | Fire Extinguisher | 2019-02-01 |  | 2024-03-01 | 2029-03-01 | 2024-03-01 | 2029-03-01 | [5 empty] | Future area | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0017 | 17 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Future area | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0018 | 18 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Mathis technical | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0019 | 19 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Mathis technical | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0020 | 20 |  | Fire Extinguisher | 2019-02-01 |  | 2024-03-01 | 2029-03-01 | 2024-03-01 | 2029-03-01 | [5 empty] | Production Entry | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0021 | 21 |  | Fire Extinguisher | 2019-02-01 |  | 2024-03-01 | 2029-03-01 | 2024-03-01 | 2029-03-01 | [5 empty] | Quality control | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0022 | 22 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Quality control | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0023 | 23 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Dispensing | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0024 | 24 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | RM Store Entry | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0025 | 25 |  | Fire Extinguisher | 2019-10-01 |  | 2022-10-01 | 2025-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | RM Store | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0026 | 26 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | RM Store | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0027 | 27 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Dispensing Corridor | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0028 | 28 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Engineering store | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0029 | 29 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Raw Material out side | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0030 | 30 |  | Fire Extinguisher | 2019-10-01 |  | 2022-10-01 | 2025-10-01 | 2022-10-01 | 2025-10-01 | [5 empty] | Raw Material out side | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0031 | 31 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | LT Room | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0032 | 32 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | LT Room | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0033 | 33 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | LT Room | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0034 | 34 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | LT Room | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0035 | 35 |  | Fire Extinguisher | NA |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | HT Room | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0036 | 36 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | DG Set | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0037 | 37 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Diesel Storage Tank | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0038 | 38 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Diesel Storage Tank | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0039 | 39 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Solvent | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0040 | 40 |  | Fire Extinguisher | 2019-02-01 |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Solvent | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0041 | 41 |  | Fire Extinguisher | 2019-10-01 |  | 2022-10-01 | 2025-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | Solvent Store | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0042 | 42 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Technical Area(FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0043 | 43 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Technical Area(FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0044 | 44 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Production area(FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0045 | 45 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Production area(FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0046 | 46 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Technical Area(FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0047 | 47 |  | Fire Extinguisher | 2018-04-01 |  | 2024-04-01 | 2029-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Production area(FF) | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0048 | 48 |  | Fire Extinguisher | 2018-04-01 |  | 2021-04-01 | 2026-04-01 | 2021-04-01 | 2026-04-01 | [5 empty] | Production area(FF) | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0049 | 49 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Technical Area(FF) | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0050 | 50 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Technical Area(FF) | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0051 | 51 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Documentation Store (technical) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0052 | 52 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | BMS Room (Technical Area FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0053 | 53 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Technical Area(FF) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0054 | 54 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Formulation &Dev. | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0055 | 55 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Formulation & Dev. | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0056 | 56 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | ADL Passage | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0057 | 57 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | ADL Entry | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0058 | 58 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | ADL Entry | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0059 | 59 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Training Room | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0060 | 60 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Lift Room (Terrace) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0061 | 61 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Main Gate Electric Panel Room | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0062 | 62 |  | Fire Extinguisher | 2019-10-01 |  | 2022-10-01 | 2025-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | Raw Material | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0063 | 63 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Canteen Entry | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0064 | 64 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2029-10-01 | 2024-10-01 | 2029-10-01 | [5 empty] | Outside chemical lab in QC area | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0065 | 65 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Solvent day store | No |  | ABC 6KG (M) |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0066 | 66 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Solvent day store | No |  | ABC 6KG (M) |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0067 | 67 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | ADL Document store | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0068 | 68 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Warehouse solvent store | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0069 | 69 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Gas cylinder yard | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0070 | 70 |  | Fire Extinguisher | 2019-10-01 |  | 2022-10-01 | 2025-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | Behind D.G.Set | No |  | M/FOAM 50Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0071 | 71 |  | Fire Extinguisher | 2019-10-01 |  | 2022-10-01 | 2025-10-01 | 2024-10-01 | 2027-10-01 | [5 empty] | Visitor room | No |  | W/CO2 50 Ltr |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0072 | 72 |  | Fire Extinguisher | 2019-02-01 |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Secondary packing/Misc. item storage area | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0073 | 73 |  | Fire Extinguisher | 2019-02-01 |  | 2024-08-01 | 2029-08-01 | 2024-08-01 | 2029-08-01 | [5 empty] | Document storage room (Future Area) | No |  | ABC 6KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0074 | 74 |  | Fire Extinguisher | 2018-04-01 |  | 2024-08-01 | 2029-08-01 | 2021-08-01 | 2029-08-01 | [5 empty] | Washing area (GF-64) | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0075 | 75 |  | Fire Extinguisher | 2018-04-01 |  | 2024-08-01 | 2029-08-01 | 2021-08-01 | 2029-08-01 | [5 empty] | Washing area-MFG (FF-46) | No |  | CLEAN AGENT 2KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0076 | 76 |  | Fire Extinguisher | NA |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher-1 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0077 | 77 |  | Fire Extinguisher | NA |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -2 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0078 | 78 |  | Fire Extinguisher | NA |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -3 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0079 | 79 |  | Fire Extinguisher | NA |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -4 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0080 | 80 |  | Fire Extinguisher | - |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -5 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0081 | 81 |  | Fire Extinguisher | - |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -6 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0082 | 82 |  | Fire Extinguisher | - |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -7 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0083 | 83 |  | Fire Extinguisher | - |  | 2023-03-01 | 2028-03-01 | 2023-03-01 | 2028-03-01 | [5 empty] | Spare Extinguisher -8 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0084 | 84 |  | Fire Extinguisher | - |  | 2023-05-01 | 2028-05-01 | 2023-05-01 | 2028-05-01 | [5 empty] | Spare Extinguisher -9 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0085 | 85 |  | Fire Extinguisher | - |  | 2024-08-01 | 2029-08-01 | 2024-08-01 | 2029-08-01 | [5 empty] | Spare Extinguisher -10 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0086 | 86 |  | Fire Extinguisher | - |  | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | [5 empty] | Spare Extinguisher -11 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0087 | 87 |  | Fire Extinguisher | - |  | 2024-08-01 | 2029-08-01 | 2024-08-01 | 2029-08-01 | [5 empty] | Spare Extinguisher -12 | No |  | ABC 6Kg |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0088 | 88 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -13 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0089 | 89 |  | Fire Extinguisher | 2019-10-01 |  | 2024-10-01 | 2028-10-01 | 2021-08-01 | 2026-08-01 | [5 empty] | Spare Extinguisher -14 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0090 | 90 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -15 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0091 | 91 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -16 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0092 | 92 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -17 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0093 | 93 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -18 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0094 | 94 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -19 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0095 | 95 |  | Fire Extinguisher | 2018-08-01 |  | 2023-07-01 | 2028-07-01 | 2023-07-01 | 2028-07-01 | [5 empty] | Spare Extinguisher -20 | No |  | CO2 4.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0096 | 96 |  | Fire Extinguisher | 2023-11-01 |  | - | 2028-11-01 | - | 2028-11-01 | [5 empty] | Spare Extinguisher -21 | No |  | CO2 22.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0097 | 97 |  | Fire Extinguisher | 2023-11-01 |  | - | 2028-11-01 | - | 2028-11-01 | [5 empty] | Spare Extinguisher -22 | No |  | CO2 22.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0098 | 98 |  | Fire Extinguisher | 2023-11-01 |  | - | 2028-11-01 | - | 2028-11-01 | [5 empty] | Spare Extinguisher -23 | No |  | CO2 22.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0099 | 99 |  | Fire Extinguisher | 2023-11-01 |  | - | 2028-11-01 | - | 2028-11-01 | [5 empty] | Spare Extinguisher -24 | No |  | CO2 22.5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0100 | 100 |  | Fire Extinguisher | 2022-02-01 |  | - | 2027-02-01 | - | 2027-02-01 | [5 empty] | Spare Extinguisher -25 | No |  | CLEAN AGENT 5KG |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FE-0101 | 101 |  | Fire Extinguisher | 2022-02-01 |  | - | 2027-02-01 | - | 2027-02-01 | [5 empty] | Spare Extinguisher -26 | No |  | CLEAN AGENT 5KG |  | Fire Safety Equipments
Mandatory Fields
Not Mandatory

## Fire Ball
Company | Asset Tag | Serial Number | Status | Item Name | MFG MONTH | EXPIRY MONTH | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | CAPACITY | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FB-0001 | 1 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | Admin entrance area | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0002 | 2 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | LT panel room | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0003 | 3 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | QC area | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0004 | 4 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | Manufacturing-I corridor(2.5 m wide passge) | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0005 | 5 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | Mathis machine area | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0006 | 6 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | FnD Lab area | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0007 | 7 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | ADL Lab area | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0008 | 8 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | Scarp Yard | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
SEZ-Transdermal | ZTL-FB-0009 | 9 |  | Fire Ball | March'23 | Feb'28 | [6 empty] | Scarp Yard | No |  | Fire Ball | 2 Kg |  | Fire Safety Equipments | AFO
Mandatory Fields
Not Mandatory

## Fire Hose Box
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | HOSE PIPE QTY | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FHB-0001 | 1 |  | Fire Hose Box | [6 empty] | Near UTG | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0002 | 2 |  | Fire Hose Box | [6 empty] | Entrance of Admin | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0003 | 3 |  | Fire Hose Box | [6 empty] | Garden area | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0004 | 4 |  | Fire Hose Box | [6 empty] | Garden area | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0005 | 5 |  | Fire Hose Box | [6 empty] | Near Emergency Exit | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0006 | 6 |  | Fire Hose Box | [6 empty] | Near Engineering Office | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0007 | 7 |  | Fire Hose Box | [6 empty] | Outside RM | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0008 | 8 |  | Fire Hose Box | [6 empty] | Near ETP | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0009 | 9 |  | Fire Hose Box | [6 empty] | Near Water Monitor | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0010 | 10 |  | Fire Hose Box | [6 empty] | Outside Solvent store | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0011 | 11 |  | Fire Hose Box | [6 empty] | Admin staircase | NA | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0012 | 12 |  | Fire Hose Box | [6 empty] | Near Engineering office FF | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0013 | 13 |  | Fire Hose Box | [6 empty] | MFG Staircase | 4 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHB-0014 | 14 |  | Fire Hose Box | [6 empty] | FF near water system | 2 | No |  | Hose Box | Hose Box |  | Fire Safety Equipments
Mandatory Fields
Not Mandatory

## Fire Hydrant Point Valve
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FHP-0001 |  |  | Fire Hydrant Point/Valve | [6 empty] | Near UTG | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0002 |  |  | Fire Hydrant Point/Valve | [6 empty] | Entrance of Admin | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0003 |  |  | Fire Hydrant Point/Valve | [6 empty] | Garden area | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0004 |  |  | Fire Hydrant Point/Valve | [6 empty] | Garden area | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0005 |  |  | Fire Hydrant Point/Valve | [6 empty] | Near Emergency Exit | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0006 |  |  | Fire Hydrant Point/Valve | [6 empty] | Near Engineering Office | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0007 |  |  | Fire Hydrant Point/Valve | [6 empty] | Outside RM | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0008 |  |  | Fire Hydrant Point/Valve | [6 empty] | Near ETP | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0009 |  |  | Fire Hydrant Point/Valve | [6 empty] | Near Water Monitor | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0010 |  |  | Fire Hydrant Point/Valve | [6 empty] | Outside Solvent store | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0011 |  |  | Fire Hydrant Point/Valve | [6 empty] | Admin staircase | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0012 |  |  | Fire Hydrant Point/Valve | [6 empty] | Near Engineering office FF | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0013 |  |  | Fire Hydrant Point/Valve | [6 empty] | MFG Staircase | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHP-0014 |  |  | Fire Hydrant Point/Valve | [6 empty] | FF near water system | No |  | Fire Hydrant Point/Valve | Fire Hydrant Point/Valve |  | Fire Safety Equipments

## Fire Hose Reel
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FHR-0001 |  |  | Fire Hose Reel | [6 empty] | Admin Staircase | No |  | Fire Hose Reel | Fire Hose Reel |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FHR-0002 |  |  | Fire Hose Reel | [6 empty] | Manufacturing Staircase | No |  | Fire Hose Reel | Fire Hose Reel |  | Fire Safety Equipments

## Fire Sand Bucket
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FSB-0001 |  |  | Fire Bucket | [6 empty] | Near Main Gate | No |  | Fire Bucket | Fire Bucket |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FSB-0002 |  |  | Fire Bucket | [6 empty] | Near ETP | No |  | Fire Bucket | Fire Bucket |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FSB-0003 |  |  | Fire Bucket | [6 empty] | Near DG Tank | No |  | Fire Bucket | Fire Bucket |  | Fire Safety Equipments

## Emergency Door
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-EED-0001 |  |  | Emergency Door | [6 empty] | Mathis Machine Room | No |  | Emergency Door | Emergency Door |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EED-0002 |  |  | Emergency Door | [6 empty] | Production Area GF corridor | No |  | Emergency Door | Emergency Door |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EED-0003 |  |  | Emergency Door | [6 empty] | Outside Area GF Corridor | No |  | Emergency Door | Emergency Door |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EED-0004 |  |  | Emergency Door | [6 empty] | F & D Area FF Corridor | No |  | Emergency Door | Emergency Door |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EED-0005 |  |  | Emergency Door | [6 empty] | Production Area FF corridor | No |  | Emergency Door | Emergency Door |  | Fire Safety Equipments

## SCBA Set
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-SCBA-0001 |  |  | SCBA Set | [6 empty] | Near Engineering Workshop | No |  | SCBA Set | SCBA Set |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCBA-0002 |  |  | SCBA Set | [6 empty] | Staircase of MFG | No |  | SCBA Set | SCBA Set |  | Fire Safety Equipments

## Safety Shower
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-SS-0001 |  |  | Safety Shower | [6 empty] | QC chemcial Lab (full body) | No |  | Safety Shower | Safety Shower |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SS-0002 |  |  | Safety Shower | [6 empty] | QC chemcial Lab (Handy) | No |  | Safety Shower | Safety Shower |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SS-0003 |  |  | Safety Shower | [6 empty] | ADL chemcial Lab (full body) | No |  | Safety Shower | Safety Shower |  | Fire Safety Equipments

## Jockey & Main Pump
Company | Asset Tag | Serial Number | Status | Item Name | CAPACITY OF PUMP (M3/HR) | HEAD (Meter) | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FP-0001 |  |  | Jockey Pump | 10.8 | 90 | [6 empty] | Fire Pump House | No |  | Jockey Pump | Jockey Pump |  | Fire Safety Equipments | LUBI
SEZ-Transdermal | ZTL-FP-0002 |  |  | Main Electrical Driven Pump | 137 | 90 | [6 empty] | Fire Pump House | No |  | Main Electrical Driven Pump | Main Electrical Driven Pump |  | Fire Safety Equipments | LUBI

## Spill Control Kit
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-SCK-0001 |  |  | Spill Control Kit | [6 empty] | FND | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0002 |  |  | Spill Control Kit | [6 empty] | ADL | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0003 |  |  | Spill Control Kit | [6 empty] | RM Store | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0004 |  |  | Spill Control Kit | [6 empty] | Ambient solvent store | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0005 |  |  | Spill Control Kit | [6 empty] | QC | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0006 |  |  | Spill Control Kit | [6 empty] | FF MFG | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0007 |  |  | Spill Control Kit | [6 empty] | Dispensing (WH) | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SCK-0008 |  |  | Spill Control Kit | [6 empty] | GF MFG | No |  | Spill Control Kit | Spill Control Kit |  | Fire Safety Equipments

## First Aid Box
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FAB-0001 |  |  | First Aid Box | [6 empty] | HR | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0002 |  |  | First Aid Box | [6 empty] | ADL | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0003 |  |  | First Aid Box | [6 empty] | FND | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0004 |  |  | First Aid Box | [6 empty] | QC | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0005 |  |  | First Aid Box | [6 empty] | MFG GF (Packing Hall) | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0006 |  |  | First Aid Box | [6 empty] | MFG GF | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0007 |  |  | First Aid Box | [6 empty] | MFG FF | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0008 |  |  | First Aid Box | [6 empty] | Engineering Office GF | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0009 |  |  | First Aid Box | [6 empty] | BMS | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0010 |  |  | First Aid Box | [6 empty] | WH | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0011 |  |  | First Aid Box | [6 empty] | Security Gate | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0012 |  |  | First Aid Box | [6 empty] | Canteen | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FAB-0013 |  |  | First Aid Box | [6 empty] | Reception (Staff Area) | No |  | First Aid Box | First Aid Box |  | Fire Safety Equipments

## Fire Water Monitor
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FWM-0001 |  |  | Fire Water Monitor | [6 empty] | Near Civil material storage area | No |  | Fire Water Monitor | Fire Water Monitor |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-FWM-0001 |  |  | Fire Water Monitor | [6 empty] | Near MFG emergency staircase | No |  | Fire Water Monitor | Fire Water Monitor |  | Fire Safety Equipments

## Fire Hose Pipe
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-HP-0001 |  |  | Fire Hose Pipe | [6 empty] | FHB-01 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0002 |  |  | Fire Hose Pipe | [6 empty] | FHB-01 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0003 |  |  | Fire Hose Pipe | [6 empty] | FHB-02 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0004 |  |  | Fire Hose Pipe | [6 empty] | FHB-02 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0005 |  |  | Fire Hose Pipe | [6 empty] | FHB-03 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0006 |  |  | Fire Hose Pipe | [6 empty] | FHB-03 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0007 |  |  | Fire Hose Pipe | [6 empty] | FHB-04 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0008 |  |  | Fire Hose Pipe | [6 empty] | FHB-04 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0009 |  |  | Fire Hose Pipe | [6 empty] | FHB-05 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0010 |  |  | Fire Hose Pipe | [6 empty] | FHB-05 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0011 |  |  | Fire Hose Pipe | [6 empty] | FHB-06 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0012 |  |  | Fire Hose Pipe | [6 empty] | FHB-06 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0013 |  |  | Fire Hose Pipe | [6 empty] | FHB-07 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0014 |  |  | Fire Hose Pipe | [6 empty] | FHB-07 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0015 |  |  | Fire Hose Pipe | [6 empty] | FHB-08 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0016 |  |  | Fire Hose Pipe | [6 empty] | FHB-08 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0017 |  |  | Fire Hose Pipe | [6 empty] | FHB-09 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0018 |  |  | Fire Hose Pipe | [6 empty] | FHB-09 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0019 |  |  | Fire Hose Pipe | [6 empty] | FHB-10 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0020 |  |  | Fire Hose Pipe | [6 empty] | FHB-10 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0021 |  |  | Fire Hose Pipe | [6 empty] | FHB-12 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0022 |  |  | Fire Hose Pipe | [6 empty] | FHB-12 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0023 |  |  | Fire Hose Pipe | [6 empty] | FHB-13 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0024 |  |  | Fire Hose Pipe | [6 empty] | FHB-13 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0025 |  |  | Fire Hose Pipe | [6 empty] | FHB-13 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0026 |  |  | Fire Hose Pipe | [6 empty] | FHB-13 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0027 |  |  | Fire Hose Pipe | [6 empty] | FHB-14 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0028 |  |  | Fire Hose Pipe | [6 empty] | FHB-14 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0029 |  |  | Fire Hose Pipe | [6 empty] | Spare HP-1 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0030 |  |  | Fire Hose Pipe | [6 empty] | Spare HP-2 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0031 |  |  | Fire Hose Pipe | [6 empty] | Spare HP-3 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0032 |  |  | Fire Hose Pipe | [6 empty] | Spare HP-4 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0033 |  |  | Fire Hose Pipe | [6 empty] | Spare HP-5 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-HP-0034 |  |  | Fire Hose Pipe | [6 empty] | Spare HP-6 | No |  | Fire Hose Pipe | Fire Hose Pipe |  | Fire Safety Equipments

## PAPR
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-PAPR-0001 |  |  | PAPR | [6 empty] | FND Lab | No |  | PAPR | PAPR |  | Fire Safety Equipments

## LEL
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-LEL-0001 |  |  | LEL system | [6 empty] | Near BMS Office | No |  | LEL system | LEL system |  | Fire Safety Equipments

## Co2 flooding system
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-CFS-0001 |  |  | CO2 flooding system | [6 empty] | HT Panel | No |  | CO2 flooding system | CO2 flooding system |  | Fire Safety Equipments

## VESDA
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-VESDA-0001 |  |  | VESDA System | [6 empty] | RM store | No |  | VESDA System | VESDA System |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-VESDA-0002 |  |  | VESDA System | [6 empty] | FG store | No |  | VESDA System | VESDA System |  | Fire Safety Equipments

## H2 & O2 sensor
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-H2&O2-0001 |  |  | H2 and O2 sensor | [6 empty] | Near BMS office | No |  | H2 and O2 sensor | H2 and O2 sensor |  | Fire Safety Equipments

## O2 Analayser
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-O2-0001 |  |  | O2 Analyser | [6 empty] | MFG-1 | No |  | O2 Analyser | O2 Analyser |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-O2-0002 |  |  | O2 Analyser | [6 empty] | MFG-2 | No |  | O2 Analyser | O2 Analyser |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-O2-0003 |  |  | O2 Analyser | [6 empty] | MFG-3 | No |  | O2 Analyser | O2 Analyser |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-O2-0004 |  |  | O2 Analyser | [6 empty] | Sampling/Dispensing-1 | No |  | O2 Analyser | O2 Analyser |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-O2-0005 |  |  | O2 Analyser | [6 empty] | Sampling/Dispensing-2 | No |  | O2 Analyser | O2 Analyser |  | Fire Safety Equipments

## Fire smoke detection system
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-FSDS-0001 |  |  | Fire smoke detection system | [6 empty] | Security Main gate | No |  | Fire smoke detection system | Fire smoke detection system |  | Fire Safety Equipments

## Potable Gas detector
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-PGD-0001 |  |  | Portable gas detector | [6 empty] | EHS Office ( O2, LEL, CO, H2s) | No |  | Portable gas detector | Portable gas detector |  | Fire Safety Equipments

## OHC Wheel Chair
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-WC-0001 |  |  | Wheel chair | [6 empty] | Reception Area | No |  | Wheel chair | Wheel chair |  | Fire Safety Equipments

## O2 cylinder
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-OC-0001 |  |  | Oxygen cylinder | [6 empty] | Reception Area | No |  | Oxygen cylinder | Oxygen cylinder |  | Fire Safety Equipments

## O2 concentrator
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-OCO-0001 |  |  | Oxygen concentrator | [6 empty] | Reception Area | No |  | Oxygen concentrator | Oxygen concentrator |  | Fire Safety Equipments

## Safety Belt
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-SB-0001 |  |  | Safety Belt | [6 empty] | Workshop | No |  | Safety Belt | Safety Belt |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SB-0002 |  |  | Safety Belt | [6 empty] | Workshop | No |  | Safety Belt | Safety Belt |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SB-0003 |  |  | Safety Belt | [6 empty] | Workshop | No |  | Safety Belt | Safety Belt |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SB-0004 |  |  | Safety Belt | [6 empty] | Workshop | No |  | Safety Belt | Safety Belt |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-SB-0005 |  |  | Safety Belt | [6 empty] | Workshop | No |  | Safety Belt | Safety Belt |  | Fire Safety Equipments

## diphotrine kit
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-DT-0001 |  |  | Diphotrine Kit | [6 empty] | QC | No |  | Diphotrine Kit | Diphotrine Kit |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-DT-0002 |  |  | Diphotrine Kit | [6 empty] | ADL | No |  | Diphotrine Kit | Diphotrine Kit |  | Fire Safety Equipments

## Resogard Mask
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-EM-0001 |  |  | Escape Mask | [6 empty] | MFG | No |  | Escape Mask | Escape Mask |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EM-0002 |  |  | Escape Mask | [6 empty] | QC | No |  | Escape Mask | Escape Mask |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EM-0003 |  |  | Escape Mask | [6 empty] | ADL | No |  | Escape Mask | Escape Mask |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EM-0004 |  |  | Escape Mask | [6 empty] | WH | No |  | Escape Mask | Escape Mask |  | Fire Safety Equipments
SEZ-Transdermal | ZTL-EM-0005 |  |  | Escape Mask | [6 empty] | FND | No |  | Escape Mask | Escape Mask |  | Fire Safety Equipments

## Clean agent flooding system
Company | Asset Tag | Serial Number | Status | Item Name | Purchase Date | Supplier | Order Number | Purchase Cost | Warranty Months | Asset Notes | Location Name | Requestable | Image Filename | Model Name | Model Number | Model Notes | Category | Manufacturer
SEZ-Transdermal | ZTL-CAFS-0001 |  |  | Clean agent flooding system | [6 empty] | UPS battery Room | No |  | Clean agent flooding system | Clean agent flooding system |  | Fire Safety Equipments